Declaration of conformity

EC declaration of conformity

The Manufacturer

| Westbo of Sweden AB |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Industrigatan 8, 333 75 Reftele |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SWEDEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| declares under its sole responsibility that the product for space heating in residential buildings with the trade name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Westbo Ornament 30 / Standard 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| is in conformity with the requirements of: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - the Directives on the setting of requirements for energy-related products (Ecodesign) 2009/125/EC and (EU) 2015/1185 - Delegated Regulation (EU) 2015/1186 with regard to the energy labelling of local space heaters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| and complies with the following harmonised standard: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EN 16510-2-3:2022 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The product was tested for compliance with the requirements of the standard by the Notified Body: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NB-1625 Rhein-Ruhr Feuerstätten Prüfstelle GmbH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Im Lipperfeld 34b, 46047 Oberhausen, DEUTSCHLAND |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| With the type test report, no: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RRF – 15 11 2567 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Important notes on installation and maintenance: Please read and follow the installation and operating instructions! Distances to combustible components and fire protection must be observed! Sufficient combustion air must be able to flow to the fireplace! Heating appliances with water technology may only be put into operation if all safety devices are operational and functional! |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Mattias Gunnarsson, CEO

Westbo of Sweden